## Holding tank
| 2006 yellow code |  |  | Holding tank Design | [8 empty] | www.SepticResource.com (vers 12.6)
|  | Property Owner: | [8 empty] | Date:
|  | Site Address: | [8 empty] | PID:
Comments:
|  | instructions: |  |  | = site specific input |  |  |  | = adjust if desired |  |  |  | = self-calculated (DO NOT ADJUST)
1) |  | ? | bedroom |  |  |  |  | Residential |  |  | System
2) |  | 0 | GPD design flow | [13 empty] | 0
|  | No | Lift station to holding tank |  |  |  | (lift basket < 100 gal treat as sewer line, > 100 gal treat as tank)
[17 empty] | 1000 | #VALUE! | #VALUE!
3) | [8 empty] | #VALUE! | Gallon Holding tank (minimum) |  |  |  |  | at | gpi |  |  | 0
4) |  | #VALUE! | inches from bottom of tank to "Hi Level" float (75% full when alarm activates)
5) |  | #VALUE! | gallons reserve capacity (after High Level Alarm is activated)
I hereby certify that I have completed this work in accordance with all applicable ordinances, rules and laws.
|  | Designer Signature |  |  |  |  | Company |  |  |  |  | License# |  |  | Date
INSPECTOR CHECK LIST - Holding Tank
|  | WELL setbacks: |  |  |  | 20' to pressure tested sewer line (5 psi for 15 min)
50' to everything
|  | PROPERTY LINES setback: |  |  |  | 10' to everything
|  | Road setback: |  |  |  | outer ditch, or 33' from center of township road, or 65' from center of cnty road
|  | LAKE / BLUFF setback: |  |  |  | 20' for bluff. Lakes: GD ___, RD ___, NE ____. Protected wetland ___.
|  | Building setbacks: |  |  |  | 10' for everything.
|  | WATER LINE under pressure setback: |  |  |  | 10' to tank & sewer line. (else sewer line > 12" below)
Sewer line & baffle connection (no 90's, 3' between 45's, slope min 1" in 8', max 2" in 8')
(no depth req's, clean out every 100', Sch 40 D2665 or F891)
|  | No | Lift station to Holding tank |  |  |  | (lift basket < 100 gallons treat as sewer line, >100 gal treat as tank)
Holding tank and risers (water tight, insulated, proper depth, existing verified by pumping)
|  |  | mfg__________ |  |  | #VALUE! | gallons
Riser within 12" of grade, 6"+ access pipe to grade.
|  | High Level Alarm (set at 75% capacity) (electrical or mechanical) | [10 empty] | #VALUE! | inches from bottom of tank
Water tight testing form
Re-use existing tank certification
Abandon existing system if necessary
monitoring plan and type
well abandonment form if necessary

## Prelim & field eval
Preliminary & Field Evaluation Form
www.SepticResource.com vers 12.4
Owner Information
Date |  |  | Sec / Twp / Rng
Parcel ID |  |  | LUG (county, city, township)
Property Owner: |  |  | Owners address (if different)
Property Address:
City / State / Zip:
Flow Information and Waste Type / Strength
Estimated Design flow | 0 |  | Anticipated Waste strength
Any Non-Domestic Waste
Comments:
Sewage ejector/grinder pump
Water softener
Garbage Disposal
Daycare / In home business
Site Information
Existing & proposed lot |  |  | Well casing depth
improvements located (see site map)
Easements on lot located |  |  | Drainfield w/in 100' of
(see site map) |  |  | residential well
Property lines determined |  |  | Site w/in 200' of transient
(see site map) |  |  | noncommunity water supply (TNCWS)
Req'd setbacks determined |  |  | Site w/in an inner wellhead
(see site map) |  |  | mgmt zone (CWS/NTNCWS)
Utilities located & identified |  |  | Buried water supply pipe
(gopher state one call) |  |  | w/in 50' of system
Access for system maintenance |  |  | Site located in Shoreland
(shown on site map) |  |  | (w/in 1000' of lake, 300' of river)
Soil treatment area protected |  |  | Site map prepared with
previous items included
Construction related issues
Soil Information
Evidence of site:
Cut
Filled
Compacted
Disturbed
Original soils
Soil logs completed and attached |  |  | Perk test completed and
attached (if applicable)
Soil loading rate (gpd/ft2) |  |  | Percolation rate (if applicable)
Depth/elev to SHWT |  |  | Flooding or run-on potential
(comments)
Depth to system bottom
maximum (or elev minimum)
Flood elevation (if applicable)
Depth/elev to standing
water (if applicable)
Elevation of ordinary high
Depth/elev to bedrock |  |  | water level (if applicable)
(if applicable)
Floodplain designation and
Soil Survey information |  |  | elev - 100 yr/10 yr (if applicable)
determined (see attachment)
Differences between soil survey
and field evaluation (if applicable)
I hereby certify this evaluation was completed in accordance with MN 7080 and any local req's.
Designer Signature |  | Company |  |  | License #
Hi Strength
Yes (class V)
Domestic
No
No
No
No
No
Yes
Yes
Yes
Yes
No
No
No
No
No
No
No
No
No
No
No
No
No
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
No
No
No
No
No
No
Yes
Yes
Yes
Yes
Yes
Yes
Yes
No
Yes
Yes
No
No