## At-grade
| 2011 purple code |  |  | Puraflo Peat filter w/At-grade Design | [8 empty] | www.SepticResource.com (vers 15.2)
|  | Property Owner: | [8 empty] | Date:
|  | Site Address: | [8 empty] | PID:
Comments:
instructions: |  |  |  | = enter data |  |  |  | = adjust if desired |  |  |  | = computer calculated - DO NOT CHANGE!
1) |  | ? | bedroom |  | Type | IV |  | Residential |  |  | System
2) |  | 0 | GPD design flow | [14 empty] | 0 |  |  |  | #VALUE! | gpd max design flow per pod
3) |  | No | Garbage disposal or pumped to septic | [18 empty] | #VALUE! | design length per pod 7-12'
4) |  |  | 0 | Gallon septic tank (code minimum) |  |  |  |  | 0 | Gallon Septic tank (design size / LUG req'd) | [7 empty] | 0 | 0
effluent filter and alarm required
|  | No | LUG required sampling port? (green coded module)
5) |  | ? | GPD/ft2 Soil Loading Rate - treatment level B | [6 empty] | (this must match the soil boring log)
6) |  |  | #VALUE! | ft2 absorption area (code minimum) |  |  |  |  | #VALUE! | ft2 absorption area (design size / LUG req'd)
7) |  | ? | gpd/ft Contour Loading Rate |  |  |  |  | (from table: 8 gal/ft maximum, 12 gal/ft "stacked" sytem total)
|  |  | gives a minimum |  |  | #VALUE! | ft. long rockbed
8) |  | 0 | number of pods needed for treatment | [14 empty] | #VALUE!
each pod credited with 12' of dispersal length along the contour - maximum
9) |  | #VALUE! | number of pods needed for dispersal
gives a rockbed/absorption area of :
|  |  | #VALUE! | ft wide (15' maximum) BY |  |  |  | #VALUE! | ft long
13) |  | 12 | doses per day |  |  | ( 12 typical)
14) |  | 0 | gallons per dose |  |  | (treatment volume) |  |  | #VALUE! | gal dose per pod (max 13-15) increase doses if needed)
16) |  |  | feet of |  | 2 | inch supply line |  |  | leads to | #VALUE! | gallons of drainback volume
(include supply line to 6" past last pod connection)
17) |  | #VALUE! | gallons TOTAL pump out volume (treatment + drainback)
18) |  |  | feet vertical lift from pump to drainfield laterals, leads to a
19) |  | #VALUE! | GPM @ |  | #VALUE! | feet of head Pump requirement
(note: >50 gpm may require an additional 3-6' of head for discharge assembly)
20) |  | 0 | gal Dose tank (code minimum) |  |  |  |  | 0 | gal Dose tank (design size / LUG req'd) | [5 empty] | at |  | gpi
leads to a
21) |  | #VALUE! | inch swing on Demand float, | [5 empty] | or Timed dosing of | #VALUE! | min ON |  | (confirm pump rate with drawdown
[9 empty] | (this delivers Average flow, =70% of Peak design flow) | #VALUE! | hrs OFF |  | test and adjust as necessary)
22) |  | 12 | inches from bottom of tank to "Pump Timer ON/OFF" float | [14 empty] | 1/8 | 2' | #REF! |  | 3/16 | 2' | #REF! | 7/32 | 2' | #REF! | 1/4 | 2' | #REF!
24) |  | 30 | inches from bottom of tank to "Hi Level" float | [14 empty] | 1/8 | 3' | #REF! |  | 3/16 | 3' | #REF! | 7/32 | 3' | #REF! | 1/4 | 3' | #REF!
25) |  | #VALUE! | gallons reserve capacity (after High Level Alarm is activated) | [14 empty] | #REF! | = | #REF! |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
26) |  | ? | percent site slope |  |  | (0-25% range)
|  | >18" | to redox or other limiting condition. This must match the soil log. CRITICAL FOR FUTURE CERTIFICATIONS!
27) |  | #VALUE! | ft.Total ABSORPTION width |  |  |  |  | (rock beyond pod)
28) |  |  |  |  | 0 | ft. upslope and sideslope
[5 empty] | #VALUE! | ft. Downslope
29) |  | 3 | ft system height (approximately 6" rock + 2.5' module)
|  |  | BERM widths (topsoil beyond pod) using 4:1 slope ratio | [14 empty] | 3 |  | 0.5 | 2.5
30) |  |  |  |  | 5 | ft. upslope berm | [11 empty] | 0 | 0 | 0 | 0 | 4:1 up
31) |  |  |  |  | 12 | ft. sideslope berm | [11 empty] | 4 |  |  | 12 | 4:1 side
32) |  |  |  |  | #VALUE! | ft. downslope berm | [11 empty] | 0 | 0 | 0 | 0 | 4:1 down
33) |  | Overall Dimensions: |  |  |  | #VALUE! | ft. wide by |  | #VALUE! | ft. long Rock footprint
[6 empty] | #VALUE! | ft. wide by |  | #VALUE! | ft. long Berm footprint
[6 empty] | #VALUE! | pods with |  | #VALUE! | feet of spacing between each pod
23
24
25
24
25
24
25
24
25
24
24
25
24
25
24
25
24
25
#VALUE!
25
24
25
24
25
24
25
34) |  | Rock Bed:
|  | #VALUE! | ft. by | #VALUE! | ft. 6" deep at peak, plus 20% gives | [6 empty] | #VALUE! | yd3 or *1.4= |  | #VALUE! | ton
35) |  | Loamy Cap:
|  | #VALUE! | ft. by | #VALUE! | ft. 6" deep, plus 20% gives | [6 empty] | #VALUE! | yd3 or *1.4= |  | #VALUE! | ton
36) |  | Topsoil:
|  | #VALUE! | ft. by | #VALUE! | ft. 6" deep, plus 20% gives | [6 empty] | #VALUE! | yd3 or *1.4= |  | #VALUE! | ton
I hereby certify that I have completed this work in accordance with all applicable ordinances, rules and laws.
|  | Designer Signature |  |  |  |  | Company |  |  |  |  | License# |  |  | Date
Installer Summary
|  | 0 | gallon Septic tank (minimum)
Effluent filter and alarm required (1/32" holes)
|  | 0 | gallon Dose tank (minimum) | [5 empty] | at |  | gpi
|  | #VALUE! | GPM @ |  | #VALUE! | ft. of head, Pump required
|  |  | required time dosing of --> |  |  |  | #VALUE! | minutes ON time & |  |  | #VALUE! | hours OFF time (gives avg flow)
|  | 12 | inches from bottom of tank to "pump timer ON/OFF float" float, or
|  | 30 | inches from bottom of tank to "Hi Level Alarm" float
|  |  | ft. of |  | 2 | inch supply line
supply line extends 6" past last pod connection and recommend cleanout to grade
|  | #VALUE! | ft. Total rock ABSORPTION width (rock beyond pod) (minimum)
[5 empty] | 0 | ft. upslope and sideslope
[5 empty] | #VALUE! | ft. Downslope
BERM widths (topsoil beyond pod) using 4:1 slope ratio
[5 empty] | 5 | ft. upslope berm
[5 empty] | 12 | ft. sideslope berm
[5 empty] | #VALUE! | ft. downslope berm
|  |  | Overall Dimensions: |  |  |  | #VALUE! | ft. wide by |  | #VALUE! | ft. long Rock footprint
[7 empty] | #VALUE! | ft. wide by |  | #VALUE! | ft. long Berm footprint
[7 empty] | #VALUE! | pods and |  | 0 | with a sampling port (green coded module)
[10 empty] | #VALUE! | feet of spacing between each pod
|  | Rock Bed: |  |  | #VALUE! | yd3 or *1.4= |  | #VALUE! | ton
|  | Loamy Cap: |  |  | #VALUE! | yd3 or *1.4= |  | #VALUE! | ton
|  | Topsoil: |  |  | #VALUE! | yd3 or *1.4= |  | #VALUE! | ton
INSPECTOR CHECK LIST - at grade
|  | WELL setbacks: |  |  |  | 20' to pressure tested sewer line (5 psi for 15 min)
[6 empty] | 50' to everything |  |  | 100' to dispersal area with shallow well
|  | PROPERTY LINES setback: |  |  |  | 10' to everything
|  | Road setback: |  |  |  | platted: 10' prop line. Metes & bounds: out or road easement, or outer ditch.
|  | LAKE / BLUFF setback: |  |  |  | 20' for bluff. Lakes: GD ___, RD ___, NE ____. Protected wetland ___.
|  | Building setbacks: |  |  |  | 10' for everything, 20' for dispersal area.
|  | WATER LINE under pressure setback: |  |  |  | 10' to bed,tank & sewer line. |  |  |  | (else sewer line >12" below)
Sewer line & baffle connection (no 90's, 3' between 45's, slope min 1" in 8', max 2" in 8')
(no depth req's, clean out every 100', Sch 40 pipe)
Septic tank and risers (water tight, insulated, proper depth, existing verified by pumping)
|  |  | mfg__________ |  |  | 0 | gallons
Riser over outlet, riser over inlet or center, and 6"+ inspection pipe over any remaining baffles.
effluent filter & alarm required (1/32" holes)
Dose tank risers and piping (water tight, insulated, proper depth, drainback)
|  |  | mfg__________ |  |  | 0 | gallons
|  | dose pump __________ |  |  |  | #VALUE! | gpm | #VALUE! | head | VERIFY PUMP CURVE |  |  |  | #VALUE! | min ON | #VALUE! | hr OFF
|  | float setting drop |  |  | #VALUE! | inches |  | with |  | gpi "DESIGNED"
[5 empty] | #VALUE! |  |  | gal dose divided by |  | gpi "INSTALLED" = |  |  |  | inches float drop (field corrected)
LABEL pump requirements and drawdown on riser or panel
Cam lock reachable from grade - 30" max. J-hook weep hole. Supply line access (no hard 90's)
|  | 2 | inch supply pipe: Sch40, sloped 1/8"+, supported by 4" sch40 sleeve or compacted, and buried 6"+.
splice box / control panel / electrical connections
flow measurement: CT, ETM, time dosing, home water meter
absorption area rough up
|  | absorption/rock dimensions |  |  |  | #VALUE! | X | #VALUE!
|  | #VALUE! | pods and |  | 0 | with a sampling port (green coded module)
[5 empty] | #VALUE! | ft spacing between pods
supply line extends 6" past last pod connection and recommend cleanout to grade
|  | Bermed topsoil beyond pod |  |  |  |  | 5 | upslope |  | #VALUE! | downslope
|  | cover depth of 12-18"+ |  |  |  |  | VERIFY
|  | 4" inspection pipe to bottom of rock, anchored (near pod ) | [8 empty] | VERIFY
|  | Abandon existing system - if necessary | [6 empty] | Re-use existing tank certification
monitoring plan and type
well abandonment form - if necessary

## Soil log
Soil Observation Log
www.SepticResource.com vers 12.4
Owner Information
Property Owner / project: | [6 empty] | Date
Property Address / PID:
Soil Survey Information
Parent matl's:
landscape position:
soil survey map units: |  |  |  | slope | ? | % direction- |  | downhill
Soil Log #1
|  |  | Elevation |  |  |  | Depth to SHWT
Depth (in) | Texture | fragment % | matrix color | redox color |  | consistence |  | grade | shape
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
Comments:
Soil Log #2
|  |  | Elevation |  |  |  | Depth to SHWT
Depth (in) | Texture | fragment % | matrix color | redox color |  | consistence |  | grade | shape
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
Soil Log #3
|  |  | Elevation |  |  |  | Depth to SHWT
Depth (in) | Texture | fragment % | matrix color | redox color |  | consistence |  | grade | shape
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
I hereby certify this work was completed in accordance with MN 7080 and any local req's.
Designer Signature |  |  |  | Company |  |  |  |  | License #
Soil Log #4
|  |  | Elevation |  |  |  | Depth to SHWT
Depth (in) | Texture | fragment % | matrix color | redox color |  | consistence |  | grade | shape
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
Soil Log #5
|  |  | Elevation |  |  |  | Depth to SHWT
Depth (in) | Texture | fragment % | matrix color | redox color |  | consistence |  | grade | shape
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
|  | <35 35 - 50 >50 |  |  |  | loose friable firm rigid |  | loose weak moderate strong | single grain granular blocky prismatic platy massive
I hereby certify this work was completed in accordance with MN 7080 and any local req's.
Designer Signature |  |  |  | Company |  |  |  |  | License #
Till
Outwash
Lacustrine
Alluvium
Organic
Bedrock
Summit
Shoulder
Side slope
Toe slope
Boring
Pit
Boring
Pit
Boring
Pit
refer to attached soil survey
Boring
Pit
Boring
Pit

## Prelim & field eval
Preliminary & Field Evaluation Form
www.SepticResource.com vers 12.4
Owner Information
Date |  |  |  | Sec / Twp / Rng
Parcel ID |  |  |  | LUG (county, city, township)
Property Owner: |  |  |  | Owners address (if different)
Property Address:
City / State / Zip:
Flow Information and Waste Type / Strength
Estimated Design flow | 0 |  |  | Anticipated Waste strength
Any Non-Domestic Waste
Comments:
Sewage ejector/grinder pump
Water softener
Garbage Disposal
Daycare / In home business
Site Information
Existing & proposed lot |  |  |  | Well casing depth
improvements located (see site map)
Easements on lot located |  |  |  | Drainfield w/in 100' of
(see site map) |  |  |  | residential well
Property lines determined |  |  |  | Site w/in 200' of transient
(see site map) |  |  |  | noncommunity water supply (TNCWS)
Req'd setbacks determined |  |  |  | Site w/in an inner wellhead
(see site map) |  |  |  | mgmt zone (CWS/NTNCWS)
Utilities located & identified |  |  |  | Buried water supply pipe
(gopher state one call) |  |  |  | w/in 50' of system
Access for system maintenance |  |  |  | Site located in Shoreland
(shown on site map) |  |  |  | (w/in 1000' of lake, 300' of river)
Soil treatment area protected |  |  |  | Site map prepared with
previous items included
Construction related issues
Soil Information
Evidence of site:
Cut
Filled
Compacted
Disturbed
Original soils
Soil logs completed and attached |  |  |  | Perk test completed and
attached (if applicable)
Soil loading rate (gpd/ft2) |  | ? |  | Percolation rate (if applicable)
Depth/elev to SHWT |  | >18" |  | Flooding or run-on potential
(comments)
Depth to system bottom |  | at-grade
maximum (or elev minimum)
Flood elevation (if applicable)
Depth/elev to standing
water (if applicable)
Elevation of ordinary high
Depth/elev to bedrock |  |  |  | water level (if applicable)
(if applicable)
Floodplain designation and
Soil Survey information |  |  |  | elev - 100 yr/10 yr (if applicable)
determined (see attachment)
Differences between soil survey
and field evaluation (if applicable)
I hereby certify this evaluation was completed in accordance with MN 7080 and any local req's.
Designer Signature |  |  | Company |  |  | License #
Hi Strength
Yes (class V)
Domestic
No
No
No
No
No
Yes
Yes
Yes
Yes
No
No
No
No
No
No
No
No
No
No
No
No
No
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
No
No
No
No
No
No
Yes
Yes
Yes
Yes
Yes
Yes
Yes
No
Yes
Yes
No
No

## Perc. Test
Percolation Data Sheet
1. Contact Information
Property Owner:
Site Address:
2. General Percolation Information
Diameter |  | in | Date prepared and/or soaked:
Method of scratching sidewall:
Is pre-soak requiried*? |  |  | * Not required in sandy soils
Soak* start time: |  |  | Soak* end time: |  |  | 0:00 | hrs of soak
Method to maintain 12 in of water during soak
3. Percolation Test Data
| Test hole: | #1 |  | Location:
| Date reading taken: |  |  | Elevation:
Starting time: |  |  |  | Depth**: |  | inches
Soil texture description: |  |  |  |  | ** 12 inches for mounds & at-grades, depth of absorption area for trenches & beds
| Depth (in) | Soil Texture
Reading | Start Time | End Time | Start Reading (in) | End Reading (in) | Perc rate (mpi) | % Difference Last 3 Rates | Pass
1 | [5 empty] | NA | NA
2 | [5 empty] | NA | NA
3
Chosen Percolation Rate for Test Hole #1 | [5 empty] | mpi
Additional percolation test data may be included on attached pages
Design Percolation Rate (maximum of all tests) = |  |  |  |  | 0 | mpi
Additional Percolation Data
Percolation Test Data
| Test hole: | #2 | Location:
| Date reading taken: |  | Elevation:
Starting time: |  |  | Depth**: |  | inches
** 12 in. for mounds & at-grades, depth of absorption area for trenches and beds
Soil texture description:
| Depth (in) | Soil Texture
Reading | Start Time | End Time | Start Reading (in) | End Reading (in) | Perc rate (mpi) | % Difference Last 3 Rates | Pass
1 | [5 empty] | NA | NA
2 | [5 empty] | NA | NA
3
Chosen Percolation Rate for Test Hole #2 |  |  |  |  | mpi
Percolation Test Data
| Test hole: | #3 | Location:
| Date reading taken: |  | Elevation:
Starting time: |  |  | Depth**: |  | inches
** 12 in. for mounds & at-grades, depth of absorption area for trenches and beds
Soil texture description:
| Depth (in) | Soil Texture
Reading | Start Time | End Time | Start Reading (in) | End Reading (in) | Perc rate (mpi) | % Difference Last 3 Rates | Pass
1 | [5 empty] | NA | NA
2 | [5 empty] | NA | NA
3
Chosen Percolation Rate for Test Hole #3 |  |  |  |  | mpi
Additional Percolation Data
Percolation Test Data
| Test hole: | #4 | Location:
| Date reading taken: |  | Elevation:
Starting time: |  |  | Depth**: |  | inches
** 12 in. for mounds & at-grades, depth of absorption area for trenches and beds
Soil texture description:
| Depth (in) | Soil Texture
Reading | Start Time | End Time | Start Reading (in) | End Reading (in) | Perc rate (mpi) | % Difference Last 3 Rates | Pass
1 | [5 empty] | NA | NA
2 | [5 empty] | NA | NA
3
Chosen Percolation Rate for Test Hole #4 |  |  |  |  | mpi
Percolation Test Data
| Test hole: | #5 | Location:
| Date reading taken: |  | Elevation:
Starting time: |  |  | Depth**: |  | inches
** 12 in. for mounds & at-grades, depth of absorption area for trenches and beds
Soil texture description:
| Depth (in) | Soil Texture
Reading | Start Time | End Time | Start Reading (in) | End Reading (in) | Perc rate (mpi) | % Difference Last 3 Rates | Pass
1 | [5 empty] | NA | NA
2 | [5 empty] | NA | NA
3
Chosen Percolation Rate for Test Hole #5 |  |  |  |  | mpi